## Slide 1
Milestone #2: Conduct Testing and Present Findings
Time of flight sensor
Xuewei Bai

## Slide 2
01
02
03
fundamentals of the type of sensor
Compare with the information of manufacture
Testing, data and analysis of important characteristics of sensors

## Slide 3
1.What it is?
Time of flight sensor is a measurement of the time it takes for an object, particle or wave to travel a distance. Do you know that bat sonar system is effective? The Time of flight sensor system is similar!
2.How it works?
Time of flight sensor uses a micro laser to emit infrared light. The generated light will bounce off any object and return to the sensor. The sensor can measure the distance between the object and the sensor according to the time difference between the emission of light and its return to the sensor after being reflected by the object.
time of flight sensor
fundamentals of the type of sensor

## Slide 4
Important characteristics of the time of flight sensor
Because the Time of filght sensor can measure the distance, the measurement results will be expressed by numbers, and the unit can be mm, so I think its four characteristics, Range, resolution, ststic error and precision, are very important.

## Slide 5
time of flight sensor
Testing, data and analysis of important characteristics of sensors
1.the Range of the Time of flight sensor: .
Testing:The range about the distance that the Time of flight sensor can measure is 30~2000mm.
Taking the wall as a reference, I first will measure the distance of 2000mm perpendicular to
the wall with a ruler, then draw a straight line parallel to the wall with the ruler at the
distance of 2000mm perpendicular to the wall as reference line 1, and draw a 3m straight
line perpendicular to the wall and cross the reference line 1 as the reference line 2.
Take the intersection of the sensor wall and the reference line 2 as the starting point,
translate the sensor on the reference line 2 at the same distance each time, gradually
increase the vertical distance between the sensor and the wall, and observe the change
of measured data on the computer. When the distance between the sensor and the wall
is more than 2000mm, observe the change of measured distance data on the computer.This method is also used when measuring whether the minimum value is 30mm.
Data:when = 0mm
The data of :

## Slide 6
when = 5mm
The data of :
when = 10mm
The data of :
when = 15mm
The data of :

## Slide 7
when = 1230mm
The data of :
From the data, it can be seen that when the actual value of X is 0~10mm, the measured data hardly changes, and when the actual value of X is 15mm, the measured data begins to change obviously, and after many measurements, it is found that the measured value of X is 20~30mm larger than the actual value. When the actual value of x is 1230mm, the measured data becomes unstable, and there is obvious distortion within the error range. So the Range of Time of flight sensor is 10mm~1230mm.

## Slide 8
LOREM IPSM DOLOR SIT AMET,
time of flight sensor
2.the Resolution of the Time of flight sensor:
When
Testing:First, set the increment of the distance measured by the sensor to 10cm, and observe the data change on the computer as the sensor moves away from the wall surface on the reference line 2. If the change of 10cm can be detected, reduce the increment of 10cm to 5cm to continue the test; If the change of 10 cm cannot be detected, change the increment of 10 cm to 15 cm and continue the test.The following figures are the Scatter charts corresponding to the actual value of each X and line charts connected with the measured midpoint corresponding to the actual value of each X.

## Slide 9
When

## Slide 10
When
Summary: From the above three scatter charts, the line chart formed by connecting the midpoints corresponding to each abscissa shows that the slopes of the three line charts are all changing and nonlinear. Only when x=3mm, the trend of the line chart is roughly positively correlated with the change of x, so I think the Resolution is close to 3mm.

## Slide 11
time of flight sensor
3. reduce the Static Error of the Time of flight sensor:
Testing:Let the line of sight and the ruler scale be as vertical as possible, measure every of the 7 actual values repeatedly for 8 times, and take the average value to reduce the error.
when = 45mm
The data of :
The average value of = 72.875mm

## Slide 12
when = 48mm
The data of :
The average value of = 75.25mm

## Slide 13
when = 51mm
The data of :
The average value of = 79.375mm

## Slide 14
when = 54mm
The data of :
The average value of = 85.125mm

## Slide 15
when = 57mm
The data of :
The average value of = 87.875mm

## Slide 16
when = 60mm
The data of :
The average value of = 91.875mm

## Slide 17
when = 63mm
The data of :
The average value of = 94.5mm
Findings:The average value is closer to every data measured in every group.

## Slide 18
time of flight sensor
4. the Precision of the Time of flight sensor
Testing:I will calculate the variance between the output distance of the sensor and the actual distance to get its Precision. Use the data used in part 3 above to reduce the static error of the time of flight sensor to calculate the variance. The variance: = [+]
when = 45mm
The average value of = 72.875mm
= 2.109375
My findings:The smaller the variance, the closer it is to the average and the more stable it is.
when = 48mm,The average value of = 75.25mm
= 2.6875
when = 51mm,The average value of = 79.375mm
= 0.734375

## Slide 19
03
Compare with the information of manufacture

## Slide 20
time of flight sensor
1.The information from the manufacture
Operating voltage | 3.3V/5V
Mounting holes size | 2.0mm
Ranging distance | 30 ~ 2000mm
Ranging accuracy | ±5% (high speed mode), ±3% (high accuracy mode)
Ranging time (min) | 20ms (high speed mode), 200ms (high accuracy mode)
Field of view | 25°
Laser wavelength | 940nm
Operating temperature | -20 ~ 70°C
2.The summary of my findings
Compared with information from manufacture, the measuring range error of the sensor is very large, and the actual measuring range is 10 mm ~ 1230 mm. In the measuring range, the measuring error is that the measured value is always about 20mm~30mm larger than the real value, which does not completely conform to the Ranging accuracy in information of manufacture, and the resolution of different positions is also different.

## Slide 21
THANK YOU
Xuewei Bai